## Slide 1
CISC/CMPE 472
PET Imaging
and Reconstruction
[ Images from “Positron Emission Tomography - Basic Sciences” D Bailey, D Townsend, P Valk, M Maisey ]

## Slide 2
Contrast
Areas of high metabolic activity
[ Maisey ]

## Slide 3
Contrast
[ Bailey,Karp,Surti ]
“Proton-rich” nucleus

## Slide 4
Contrast
[ Bailey,Karp,Surti ]

## Slide 5
Contrast
[ Bailey,Karp,Surti ]
8x8 groups of detector elements
[ J Karp, UPenn ]

## Slide 6
Contrast
Detector configurations
[ Bailey ]

## Slide 7
Contrast
PET + CT scanner

## Slide 8
Contrast
[ Bailey ]
Events

## Slide 9
Contrast
Backprojection
Filtered Backprojection
Algebraic Reconstruction
MLEM: Maximum Likelihood Expectation Maximization
OSEM: Ordered Subsets Expectation Maximization
Reconstruction Methods

## Slide 10
Contrast

## Slide 11
Contrast

## Slide 12
Contrast

## Slide 13
Contrast
Find the best estimate of f satisfying W f = p.
“Best” means “maximize the likelihood function of the reconstructed image”.
i.e. Find f that would produce p with highest likelihood.
The events (i.e. radioactive disintegrations) have variation that follows a Poisson model.
MLEM: Maximum Likelihood Expectation Maximization

## Slide 14
Contrast
Poisson Model

## Slide 15
Contrast
Poisson Model

## Slide 16
Contrast
Poisson Model

## Slide 17
Contrast
Likelihood of f

## Slide 18
Contrast
Log likelihood of f

## Slide 19
Contrast
Log likelihood of f

## Slide 20
Contrast
Log likelihood of f is maximized when derivative is zero

## Slide 21
Contrast
Log likelihood of f is maximized when derivative is zero

## Slide 22
Contrast
Log likelihood of f is maximized when derivative is zero

## Slide 23
Contrast
Drive f toward its maximum likelihood

## Slide 24
Contrast
Drive f toward its maximum likelihood

## Slide 25
Contrast

## Slide 26
Contrast

## Slide 27
Contrast

## Slide 28
Contrast

## Slide 29
Contrast
MLEM Summary
MLEM converges slowly with 50-200 iterations (each processing all voxels, j).
Could include attenuation and blurring in the model, W.

## Slide 30
Contrast
OSEM: Ordered Subsets Expectation Maximization
Choose subsets of the detector pairs, with evenly distributed pairs in each subset.
Apply MLEM to each subset. f (*) after one subset is used as f (0) for next subset.
For s subsets, OSEM accelerates MLEM by a factor of s (up to some max).

## Slide 31
Contrast
Filtered Backprojection, smoothed

## Slide 32
Contrast
OSEM, smoothed

## Slide 33
Contrast
MLEM vs OSEM

## Slide 34
Contrast